## Slide 1: Risky Business?
Allan Johnson
Head of Power Generation
FM Global

## Slide 2: Resilience is a choice that…
Matters in any industry, but even more so for yours!
Creates a competitive advantage!
Is achievable!

## Slide 3: Power Generation Exposures are Evolving
Transition to Renewable Energy
Changing Operating Profiles
Greater Frequency of Natural Catastrophes

## Slide 4: Traditional Power Generation Risks

## Slide 5
1
Biggest Losers
Gas and Steam
Turbines
$1.4 Billion
2015 – 2020

## Slide 6: Power Generation Portfolio Performance
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Power Gen | 1.377 | 0.693 | 0.534 | 1.07 | 0.881 | 0.528 | 0.578 | 0.713 | 1.303 | 0.598 | 0.867 | 0.715 | 0.79
Steam Turbine Motoring
- Protection System Issues
- Operator Response
Boiler Explosion
- Combustion Control Issues
- Poor Operator Response
Multiple losses
- Generators
- Steam Turbines
- Gas Turbines

## Slide 7: Power Generation Equipment Losses
Chart: 2011-2020
| Gas Turbine | Steam Turbine | Generator | GSU/Power Transformer | Water Tube Boiler | Heat Exchanger | Electric Cable | Wind Turbine | Other
 | 859813412 | 803127037 | 346117658 | 306635935 | 169061559 | 124273396 | 70802758 | 59541117 | 405240252
Chart: 2020
| Steam Turbine | Gas Turbine | Generator | GSU/Power Transformer | Wind Turbine | Water Tube Boiler | Other
 | 172061047 | 87975433 | 39084536 | 56513243 | 12014650 | 12000000 | 9117427

## Slide 8: Gas and Steam Turbines
Main Contributing factors:
Inspection & Maintenance
Safety Devices
Operators
Flexible Operations

## Slide 9: Evolving Power Generation Risks

## Slide 10: Wildfire
Frequency and Severity on the Rise
It’s all about Land Management
Emergency Planning

## Slide 11: Solar
Prone to all Natural Catastrophes
High Loss Severity, Low Frequency
Resilient Products
Location selection

## Slide 12: Wind Generation
Larger & Larger!
High Loss Frequency, Low Severity
Lightning Protection
Mechanical Damage

## Slide 13: Battery Storage Systems
Rapidly evolving technology
Fire Hazard
Battery Management System
Separation

## Slide 14: Battery Energy Storage Systems
38 large-scale Li-ion fires since 2018
Reported contributors:
  Faulty Installation
  Incompatible control systems
  Daily deep cycling
  Accelerated battery degradation

## Slide 15: FM Global Data Sheets

## Slide 16: Transition to Renewables
Natural Hazards are the Primary Exposures
Build in Resilience during Construction
Location Selection
Equipment Selection

## Slide 17: Rising Insurance Costs? Take Control!

## Slide 18: Insurance Rates Bottomed Out
PROLONGED SOFT MARKET
Prior to 2018, rates had been eroding for some time. Commercial property insurance rates have declined by at least 35-40%, along with liberalization of terms and conditions.
Source: CIAB

## Slide 19: The industry could not cover Losses and Expenses!
RATE TREND
One or two years of rate increases cannot erase a decade of eroding rates, prolonged unprofitability and historically high Nat Cat levels.
Source: CIAB

## Slide 20: Resilience is a choice that…
Matters in any industry, but even more so for yours!
Creates a competitive advantage!
Is achievable!

## Slide 21: Resilience is a choice that…
Matters in any industry, but even more so for yours!
Creates a competitive advantage!
Is achievable!
Puts you in control!

## Slide 22: Insurance alone is not enough!
Chart: 
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Insured losses | 5807.0075 | 2927.0362 | 5483.7907 | 7038.9315 | 8495.1503 | 5979.9725 | 7737.2828 | 6267.0018 | 6989.6254 | 13818.6464 | 8448.8759 | 5027.2283 | 10505.4242 | 12936.2172 | 8580.2204 | 12295.6395 | 6677.7341 | 18436.0575 | 14276.9003 | 29143.6174 | 34371.4371 | 29024.2519 | 50500.0898 | 22391.9901 | 43997.2698 | 28076.6988 | 22373.375 | 16390.4273 | 30120.0488 | 50689.1171 | 18491.6363 | 52094.3797 | 23457.6034 | 28359.8426 | 64362.7347 | 136430.0376 | 21683.1227 | 35547.7299 | 59917.0887 | 29629.6473 | 56443.308 | 138958.2001 | 76814.5073 | 45815.2485 | 37703.922 | 38474.4557 | 55934.513 | 144302.7081
Uninsured losses | 12207.4093 | 6864.1691 | 28740.8982 | 8224.8091 | 13976.0726 | 3501.4318 | 63794.6012 | 13412.3343 | 6893.2975 | 21112.1176 | 54593.7828 | 7366.5785 | 15833.8653 | 33447.2392 | 11301.3456 | 25765.1588 | 25321.0667 | 19896.5216 | 49547.0408 | 34711.7072 | 65491.1707 | 30180.7624 | 55118.3416 | 78719.935 | 110513.6297 | 231745.0714 | 72388.918 | 35441.9577 | 100927.9339 | 110449.139 | 53403.3633 | 143267.582 | 62017.8255 | 89473.7777 | 125038.1177 | 166286.7057 | 47923.5987 | 55028.6705 | 237071.8559 | 50693.2233 | 199503.3125 | 301638.7116 | 119484.2979 | 102072.765 | 78058.9449 | 58340.7047 | 124143.6377 | 192985.8048
Total Insured Losses | 5807.0075 | 2927.0362 | 5483.7907 | 7038.9315 | 8495.1503 | 5979.9725 | 7737.2828 | 6267.0018 | 6989.6254 | 13818.6464 | 8448.8759 | 5027.2283 | 10505.4242 | 12936.2172 | 8580.2204 | 12295.6395 | 6677.7341 | 18436.0575 | 14276.9003 | 29143.6174 | 34371.4371 | 29024.2519 | 50500.0898 | 22391.9901 | 43997.2698 | 28076.6988 | 22373.375 | 16390.4273 | 30120.0488 | 50689.1171 | 18491.6363 | 52094.3797 | 23457.6034 | 28359.8426 | 64362.7347 | 136430.0376 | 21683.1227 | 35547.7299 | 59917.0887 | 29629.6473 | 56443.308 | 138958.2001 | 76814.5073 | 45815.2485 | 37703.922 | 38474.4557 | 55934.513 | 144302.7081
Total Eco Losses | 18014.4168 | 9791.2054 | 34224.6889 | 15263.7405 | 22471.2229 | 9481.4043 | 71531.884 | 19679.3361 | 13882.9229 | 34930.764 | 63042.6587 | 12393.8068 | 26339.2896 | 46383.4564 | 19881.566 | 38060.7983 | 31998.8008 | 38332.5791 | 63823.9411 | 63855.3246 | 99862.6078 | 59205.0143 | 105618.4314 | 101111.9251 | 154510.8995 | 259821.7702 | 94762.2929 | 51832.385 | 131047.9828 | 161138.256 | 71894.9995 | 195361.9617 | 85475.429 | 117833.6203 | 189400.8524 | 302716.7433 | 69606.7214 | 90576.4004 | 296988.9446 | 80322.8705 | 255946.6205 | 440596.9117 | 196298.8053 | 147888.0135 | 115762.8669 | 96815.1604 | 180078.1507 | 337288.5129
Swiss Re: sigma 1/2018
Insured vs Uninsured 1970-2017
US$ Billion
US $215 billion economic loss
US $68 billion insured loss

## Slide 23: Insurance alone is not enough!
Chart: 
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Total Insured Losses | 5807.0075 | 2927.0362 | 5483.7907 | 7038.9315 | 8495.1503 | 5979.9725 | 7737.2828 | 6267.0018 | 6989.6254 | 13818.6464 | 8448.8759 | 5027.2283 | 10505.4242 | 12936.2172 | 8580.2204 | 12295.6395 | 6677.7341 | 18436.0575 | 14276.9003 | 29143.6174 | 34371.4371 | 29024.2519 | 50500.0898 | 22391.9901 | 43997.2698 | 28076.6988 | 22373.375 | 16390.4273 | 30120.0488 | 50689.1171 | 18491.6363 | 52094.3797 | 23457.6034 | 28359.8426 | 64362.7347 | 136430.0376 | 21683.1227 | 35547.7299 | 59917.0887 | 29629.6473 | 56443.308 | 138958.2001 | 76814.5073 | 45815.2485 | 37703.922 | 38474.4557 | 55934.513 | 144302.7081
Total Eco Losses | 18014.4168 | 9791.2054 | 34224.6889 | 15263.7405 | 22471.2229 | 9481.4043 | 71531.884 | 19679.3361 | 13882.9229 | 34930.764 | 63042.6587 | 12393.8068 | 26339.2896 | 46383.4564 | 19881.566 | 38060.7983 | 31998.8008 | 38332.5791 | 63823.9411 | 63855.3246 | 99862.6078 | 59205.0143 | 105618.4314 | 101111.9251 | 154510.8995 | 259821.7702 | 94762.2929 | 51832.385 | 131047.9828 | 161138.256 | 71894.9995 | 195361.9617 | 85475.429 | 117833.6203 | 189400.8524 | 302716.7433 | 69606.7214 | 90576.4004 | 296988.9446 | 80322.8705 | 255946.6205 | 440596.9117 | 196298.8053 | 147888.0135 | 115762.8669 | 96815.1604 | 180078.1507 | 337288.5129
Swiss Re: sigma 1/2018
US $215 billion economic loss
US $68 billion insured loss
Insured vs Uninsured 1970-2017
US$ Billion
68% uninsured!

## Slide 24: Take the Driver’s Seat
Invest in Physical Protection to Harden your Facilities
Thorough Testing and Maintenance Programs
Assure Operators are well Trained
Protect against Natural Hazards
Take more skin in the game
Tell Your Story! Early.

## Slide 25: The most Important Outcome

## Slide 26: The most Important Outcome
The value of your business is protected!

## Slide 27: Resilience is your Choice.
Allan Johnson
Head of Power Generation
FM Global